## Slide 1: High energy resolution GeV gamma-ray detector
2009/11/12
KEK Theory Center Cosmophysics Group Workshop
Neutralino annihilation line @10-100 GeV
S.Osone

## Slide 2
Interaction between GeV gamma rays and material
＝electron-positron pair creation
Original method to detect GeV gamma ray incident from space
Induce pair creation many times using a converter in order to deposit huge amounts of gamma-ray energy and measure the remaining electron and positron energies using a calorimeter
Particle physics
Track of a charged particle in a magnet = charge and momentum of charged particle
Magnets have been used in space for observation of anti-particles (ATIC, BESS, PAMELA)
New approach for detecting GeV gamma rays incident from space
Induce pair creation once by using a very thin converter and determine the track of the pair in a magnet; translate the momentum of the electron and positron into gamma-ray energy

## Slide 3
Background for development of new detector
processing technology of Magnet and technique involving use of Magnet of BESS group (Japan, KEK)
possible proposal for International Space Station (ISS) kibo#3 (Japan)
ISS Operation is formally limited till 2016 by the American budget
In 2009/9, an American committee proposed an extension to 2020
Other GeV gamma-ray experiments
Original method: Fermi (satellite,2008~), CALET (ISS kibo#2, 2013~)
Original method and New method: AMS (ISS, 2010~)

## Slide 4
Layout
Determine momentum of charged particle on track
Energy resolution is given by ΔP/P=σ(m) P(GeV/c) √(720/N+4)/0.3 B(T) L(m)2
(N: number of hits, B: magnetic field, L: transverse length, σ:precision of position)
High energy resolution favors large B, L, and N and small σ
Large value of maximum energy (ΔP/P=100%) favors large B, L, and N and small σ
Track is a circle given by (x – a) 2 + ( y – b )2 + ( z – c )2 = R2
Number of parameters: 4
Need more than 5 hits to obtain at least one degree of freedom
On the other hand, large number of hits costs money and power; N=6
σ= 5 μm (electron scatt. limit ) with 50-μm-pitch Si strip, as determined by analog readout
Magnet thickness is proportional to √B; the energy loss of the charged particle increases with the magnet thickness. B = 2 T ( BESS 0.8 T)
L = 0.8 m ( BESS layout )

## Slide 5
Uniformity of Magnetic field in BESS Magnet: 10%
Use Kalman filter for track fitting while applying a magnetic field at a single point
Effect of multiple electron scattering by nucleus in materials
GEANT4 simulation
Material: Magnet (Nb,Ti,Cu,Al, thickness: 4.84 mm) and six Si layer (thickness of each layer: 500 μm )
deflection by scattering / deflection by applying magnetic field
= deflection @0T / deflection@2T
= 8 μm / 175 μm @ 1 TeV electron
negligible

## Slide 6
Dimensions： 0.8 m x 0.8 m x 1.4 m / one detector, Field of view: 2str
Magnet: solenoid, Nb-Ti-Cu-Al, thickness: 4.84 mm, Total Si area: 15.6 m2 (160000 ch)

## Slide 7
 | plastic scintillator | number of tracks | direction of track
gamma ray | off | 2 | top
background event |  |  | 
charged cosmic ray | on | 1 | top
neutron | off | 1 | top
gamma ray from earth | on | 2 | bottom
Particle identification on the basis of three components

## Slide 8
B
B
Generate a magnetic field in a magnet, but eliminate the magnetic field outside by placing two magnets with oppositely directed magnetic fields (proposed by yamamoto @KEK,BESS)
Two independent detectors operated by using two adjacent standard ports
(both CALET and EUSO use two large ports )
Weight limit: 500 kg, max. power: 3 kW, size: 0.8 m x 1.0 m x 1.85 m per standard port
Magnet: 250 kg, 1 kW x 20 h; Refrigerator: 1 kW, ? kg
Tracker: 348 W; additional counter: 81 W, 200 kg / one detector

## Slide 9
Histogram of summed energies of electrons and positrons generated in Magnet + Cryostat (0.14X0) by 100-GeV gamma rays
8% of gamma rays result in pair creation
46% of pairs experience energy loss less than 100 MeV (0.1 %) by bremsstrahlung
Electron energies have been measured using a calorimeter because of energy loss by bremsstrahlung
New approach for bremsstrahlung
detect bremsstrahlung of more than 100 MeV using an additional counter
and select an electron-positron pair for which energy loss is less than 100 MeV

## Slide 10
Counter comprises an absorber and a tracker
Electrons, positrons hit all trackers
Bremsstrahlung does not hit the 6th layer of the tracker in a magnet and hits any tracker in the counter because of pair creation with the bottom of magnet or lead in counter
3D images of hits on the tracker give information on bremsstrahlung

## Slide 11
Number of detected hits for 100 bremsstrahlung injection into an additional counter
96% of 100-MeV bremsstrahlung is detected using an additional counter comprising six layers of 5.5-mm-thick lead and a Si strip
In addition to this counter, an energy response is produced.

## Slide 12
Number of electron-positron pairs for which energy loss is less than 100 MeV, for 1000 gamma ray injections into the converter
In addition to lead, magnets and cryostats also act as converters
Number of selected events is almost constant, regardless of the converter thickness
Thick materials have high conversion rate, but result in much energy loss by bremsstrahlung
Use of Magnet and Cryostat as converters (Q.E is 4%)

## Slide 13
Electrons and positrons also lose energy by bremsstrahlung in tracker
Number of electrons and positrons for which energy loss is less than 100 MeV for 100 injections into tracker
Q.E is 80 % for electrons and positrons
Total Q.E. of detector: 4% in conversion x 80 % for electrons in tracker x 80 % for positrons in tracker = 3 %

## Slide 14
Comparison of energy resolution with that in other experiments
Energy resolution of our detector is determined by two kinds of limits
<1%@10-100 GeV
(ΔE<100 MeV)
(B=2T, L=0.8m,σ=5μm)
(B=0.8T, L=1m,σ=10μm)

## Slide 15
Comparison of effective area with that in other experiments
1/20 of Fermi

## Slide 16
Our detector has high energy resolution and low effective area
Line physics
Neutralino annihilation line
mass of neutralino is expected to be in the GeV energy range in particle physics
cross section is too low ( 10-26 cm3 s-1 ) for observation
but statistics enhancement by 1-3 orders around immediate mass blackhole (102_105 M ) enables observation (Horiuchi & Ando 2006)
10-1000 ph @ 100 GeV, 3 yr
statistics enhancement by 3 orders with sommerfeld effect also enables observation
Boosted 511-keV annihilation line from GRB (boost factor > 10000)
Continuum gamma-ray spectrum
No astronomical object Crab 12 ph @1 GeV, 3 yr
Diffuse galactic gamma-ray background 9000 ph @ 100 GeV, 3 yr
Diffuse extragalactic gamma-ray background 900 ph @ 100 GeV, 3 yr
Photon on decay of fermions and gauge or Higgs bosons created by neutralino annihilation 1-100 ph @10 GeV, 3 yr

## Slide 17
Discussion on line sensitivity
signal to noise s/n is given by S A T Ω/√( B A T ΔE Ω)
( S: source flux, A: effective area, T: observation time, Ω: field of veiw
ΔE: energy resolution, B: diffuse gamma-ray background )
for extragalactic neutralino annihilation line
s/n is given by S A T/√( B A T ΔE )
Here, T is proportional to Ω for all sky observation mode
for a galactic neutralino annihilation line
Therefore, line sensitivity S is given by √(ΔE / A Ω )
Check if sensitivity is above photon limit @100 GeV, extragalactic emission
Photon limit S A T Ω > 9 ph ( 3 sigma )
Line sensitivity s/n = S A T Ω / √( B A T ΔE Ω) > 3
detector parameters: A = 0.04 m2, Ω= 2 str, T = 3 yr, ΔE = 1%
photon limit 1 x 10-10 ph/s/cm2/str
line sensitivity 4 x 10-10 ph/s/cm2/str

## Slide 18
Line sensitivity is 2-3 times better than that in AMS and almost the same as that in Fermi @10-100 GeV
Advantages of high energy resolution: results in red shift of neutralino annihilation line;
can obtain three-dimensional map of neutralino in the Universe
and velocity of the neutralino halo around the Galactic center (>1000 km/s )
Comparison of line sensitivity with that in other experiments

## Slide 19
Summary of past observation results on neutralino
EGRET shows some excess compared to secondary gamma rays produced from cosmic ray in a diffuse gamma-ray background and indicates the presence of a neutralino with high enhancement factor.
PAMELA/BETS/ATIC show some excess compared to secondary positrons (electron + positron) produced from cosmic rays in the positron (electron + positron) spectrum
A possible origin is the pulsar near Earth or neutralino with mass 700 GeV, needing three orders of enhancement
Fermi shows no excess compared to secondary gamma rays produced from cosmic rays in a diffuse gamma-ray background and indicates the presence of a neutralino with a low enhancement factor
Fermi shows a small excess compared to secondary electron + positron produced from cosmic rays in the electron + positron spectrum and is not consistent with PAMELA/BETS/ATIC
Our detector search for neutralino with mass 10-100 GeV
Future plans to resolve this inconsistency
LHC ( 2009/11~ ) determine neutralino mass; neutralino with mass less than 100 GeV will be found within one year.
Need to observe diffuse gamma-ray background spectrum with other experiments
Must reproduce EGRET diffuse gamma-ray background spectrum when the origin is possibly in detector

## Slide 20
R&D
Establishment of method of Si-strip alignment
Idea: construct detector by using a laser and determine position using CERN beam and cosmic ray
Check energy resolution of detector using CERN beam
Balloon experiment involving small-size detector (dimensions: 0.3 m x 0.3 m x 0.8 m) and a liquid-He tank
Flight of 4 h ( max10 h) at a 30-km altitude @Hokkaido, Japan, give 20 photons@10 GeV