## Slide 1
Moving a cyclotron control room from old to new location with no lost time

## Slide 2
Introduction

## Slide 3: Applied Technology Group
Introduction – who we are, what we do?
Why do we needed a new control room?
Cyclotron control room move preparation
Cyclotron control room move
Verification, validation
Conclusion

## Slide 4
Introduction

## Slide 5: Applied Technology Group
ATG is a TRIUMF’s group operating three cyclotrons
ATG provides irradiation services for commercial company NORDION
Beam is used for production of the several isotopes for medical application

## Slide 6: Applied Technology Group
We operate three cyclotrons:
CP42, 42 MeV up to 200 µAmp – 1981
TR30-1, 30 MeV up to 1 mAmp – 1991
TR30-2, 30 MeV up to 1 mAmp – 2003
Small group – 30 people, we operates, maintain/repair all our system as well as we design and build equipment

## Slide 7
Three distinctive stages:
1980 – first cyclotron - CP42
1991 – second cyclotron – TR30-1
2003 – third cyclotron – TR30-2

## Slide 8
Why do we needed a new control room?

## Slide 9
The simple answer is:
the old one is too small

## Slide 10
The old control room problems:
Too small
Hallway
Located in the evacuation zone

## Slide 11
Old control room

## Slide 12
Cyclotron control room move preparation

## Slide 13
There was only one requirement:
Move it fast

## Slide 14
Preparation:
Inventory of the modifications
Planning the modifications
using the cyclotrons maintenance days
Identifying needed equipment
Implementing the modifications
Regulatory requirements

## Slide 15
Grey Hill PLC

## Slide 16
Iconic Genesis for Windows HMI

## Slide 17
Regulatory requirements:
Human Factors Engineering Report
Verification and validation

## Slide 18
Human Factors Engineering Report
Human Machine Interface Systems
Job Design
Operating Experience Review
Physical Working Environment
Human Reliability
Shift Work Systems and Staffing
Validation
Verification

## Slide 19
Move into new control room
Fast
Painless

## Slide 20
The new cyclotron control room

## Slide 21
Verification, Validation

## Slide 22
Operators feedback was used to verify and validate that we met all the requirements

## Slide 23
Some small issues identified and corrected
Alarm panel size identified as a problem

## Slide 24
New alarm panel

## Slide 25
Move went well, but after ten years in the new (now old)control we discover (surprise) that is small again

## Slide 26
Conclusion
Think big

## Slide 27
Acknowledgement
R. Van den Elzen- TRIUMF
J. Lofvendahl – TRIUMF
R. Bloemhard – LBNL

## Slide 28
Thank you!