## Slide 1
Operator vs. Automation
Navid Radnia
Lawrence Berkeley National Lab
88” Cyclotron Operations
August 7, 2012

## Slide 2
Glossary
History of the 88” Cyclotron
History of Automation
Why our facility has stayed analog?
Current Automation Proposal
Finding a Balance
Possible Solution
What do you propose?

## Slide 3
88” Cyclotron
K=140 sector-focused cyclotron
Light- and heavy-ion capabilities
Maximum energies: 55Mev(p), 65Mev(d), 170MeV(3He).
Most heavy ions through uranium can be accelerated to maximum energies which vary with the mass and charge state.

## Slide 4
88” Cyclotron
1500 man-hours of work were necessary to assemble the trim coils which help regulate the strength and shape of the accelerator's magnetic field. (LEFT)
Power supplies are patched in with bus bars on a patch panel. Setup is still used today. (RIGHT)

## Slide 5
88” Cyclotron
First internal beam on December 12, 1961. (LEFT)
First external beam in May 1962. (RIGHT)

## Slide 6
88” Cyclotron
Major instrumentation at the 88-Inch Cyclotron includes the Berkeley Gas-filled Separator (BGS) and Versatile ECR ion source for Nuclear Science (VENUS), a third-generation superconducting ECR ion source and prototype for the Rare Isotope Accelerator (RIA).
BGS
VENUS

## Slide 7
History of Automation
Attempts over the years to integrate automated Trim Coil control.
  First attempt in 1960’s
    IBM Punch Cards
  1980’s to Present
    Tech Boom

## Slide 8
1960’s
Goal of Proposal
Monitor Set points.
Decrease tune time to
  20-25 minutes per shift.
Annual Savings of about $75,000
Failures
Feedback Errors
IBM Punch Card Errors
More Time Consuming

## Slide 9
1980’s to Present
Software & Equipment Lost to Tech Boom
FORTRAN
Cyclotron Development (CYDE)
  Program used to calculate
    Trim Coil Solution.
Outdated Equipment
  Power Supplies
  Variable Controllers

## Slide 10
The Cyclotron, as seen by….
…the Electrical Engineer
…the Mechanical Engineer
…the Operator
…the Experimental Physicist

## Slide 11
Why our facility has stayed analog?
Budget
Operational Issues
88” Cyclotron

## Slide 12
88” Cyclotron
Why our facility has stayed analog?
Budget
  Software Engineer
  Power Supplies
  Variable Controllers
  And many more

## Slide 13
88” Cyclotron
Why our facility has stayed analog?
Operations
  Automation Failures
    Optimizing beam intensity
    Not as simple as it looks.

## Slide 14
Trim Coil Upgrade
  Design
    Digitally Controlled & Automated
    Stored preset values for a particular product.
    Algorithm that will optimize beam intensity.
Current Proposal

## Slide 15
  Not Considered
    Chassis configured with only one pot for all 17 trim coils.
    Proposed configuration drastic upon failure.
    Two pots necessary for optimization upon failure of automated system.
Current Proposal
What about weekly meetings and work planning?

## Slide 16
  Existing Design Flaws in Control Room
    Valley Coils
    Bunchers
88” Cyclotron

## Slide 17
Finding a Balance
  Key factors in determining a balance.
    Machine Efficiency
    Operator Knowledge
    Problem Solving

## Slide 18
Finding a Balance
  Machine Efficiency
    Operator
      Involve operator in design
      Parameters available to Operator.
      Must be an appendage.
    Automation
      Software would have to evolve.

## Slide 19
Finding a Balance
  Operator Knowledge & Problem Solving
    Operator
      Mechanical, Electrical & Infrastructure
      Software knowledge
      Checklists

## Slide 20
Possible Solution
  Get the right people more involved
    Engineer
      Control Room
      Tuning Methods and Styles
      Help bring more reality to theory
+
=

## Slide 21
Questions?